## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
Aerosol/Cloud Particle Impactor/Replicator | ACIR | Rudolf Pueschel (PI) | NASA ARC | DC-8 - AFRC |  | CCN; Black Carbon; SO4
CU Aircraft High-Resolution Time-of-Flight Aerosol Mass Spectrometer | HR-AMS | Jose-Luis Jimenez (PI) | CU Boulder | DC-8 - AFRC; C-130 - NSF; Gulfstream III - LaRC | Spectrometer (in situ) | Organic Aerosol; NH4; NO3; SO4; NR-Cl; Br-; Iodine; seasalt; MSA; ClO4; pRONO2 | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz | Range of MeasurementIn situMeasurement Sampling Rate1.00 Hz
Particle Into Liquid Sampler | PILS | Rodney Weber (PI) | GA Tech | C-130H - WFF; DC-8 - AFRC; P-3 Orion - WFF | Ion Chromatography | Na; NH4; K; Mg; Ca+2; Cl; NO2; NO3; SO4; PO4; Br-; WSOC | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
Soluble Acidic Gases and Aerosols | SAGA | Jack Dibb (PI) | UNH | DC-8 - AFRC | Ion Chromatography | Na; NH4; K; Mg; Ca+2; Cl; Br-; NO3; SO4; C2O4-2; Be-7; Pb-210; HNO3 | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ | Range of MeasurementIn situ
Wing Tip Air Particulate Sampler | APS | Anthony Strawa (PI) | NASA ARC | ER-2 - AFRC |  | SO4; Black Carbon