## Worksheet
Title | Acronym | Contact Person | Center | Aircraft | Type | Measurements | Measurement Range | Measurement Instrument Pointing | Measurement Frequency | Measurement Swath Width | Measurement Horizontal Resolution | Measurement Vertical Resolution | Measurement Wavelengths (f_inst_wavelength)
Airborne 2-Channel Laser Infrared Absorption Spectrometer | ALIAS-II | Lance Christensen (PI) | JPL | Balloon | Spectrometer | N2O; CH4; CO; HCl; NO2
Airborne Lunar Spectral Irradiance | Air-LUSI | Kevin Turpie (PI) | UMBC | ER-2 - AFRC | Spectrometer | Lunar Spectral Irradiance | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | Range of MeasurementOtherInstrument PointingUpwards pointing but not directly upwardsPointing Angles265° - 275° from heading | 350.00 nm350.00 nm350.00 nm0.00 nm1nmYes: has discrete wavelengths, 1050.00 nm1050.00 nm1050.00 nm0.00 nm13.7 nm with 0.8 nm sampling from 350 nm to 1050 nmnmYes: has discrete wavelengths
Airborne Multi-angle Imaging SpectroRadiometer | AirMISR | Dave Diner (PI) | JPL | ER-2 - AFRC | Camera; Spectrometer | Topography | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Downwards pointing but not directly downwardsPointing Angles70.5, 60, 45.6, 26.1Swath Width11000.00 m (at 20 km)Horizontal Resolution27.50 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Downwards pointing but not directly downwardsPointing Angles70.5, 60, 45.6, 26.1Swath Width11000.00 m (at 20 km)Horizontal Resolution27.50 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Downwards pointing but not directly downwardsPointing Angles70.5, 60, 45.6, 26.1Swath Width11000.00 m (at 20 km)Horizontal Resolution27.50 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Downwards pointing but not directly downwardsPointing Angles70.5, 60, 45.6, 26.1Swath Width11000.00 m (at 20 km)Horizontal Resolution27.50 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Downwards pointing but not directly downwardsPointing Angles70.5, 60, 45.6, 26.1Swath Width11000.00 m (at 20 km)Horizontal Resolution27.50 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Downwards pointing but not directly downwardsPointing Angles70.5, 60, 45.6, 26.1Swath Width11000.00 m (at 20 km)Horizontal Resolution27.50 m (at 20 km) | 446.00 nm446.00 nm446.00 nm0.00 nm1nmYes: has discrete wavelengths, 558.00 nm558.00 nm558.00 nm0.00 nm1nmYes: has discrete wavelengths, 672.00 nm672.00 nm672.00 nm0.00 nm1nmYes: has discrete wavelengths, 866.00 nm866.00 nm866.00 nm0.00 nm1nmYes: has discrete wavelengths
Airborne Ocean Color Imager | AOCI | James D. Jacobson Jr. (Mgr) | BAERI | ER-2 - AFRC | Spectrometer | Imagery | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningSwath Width50.00 m (at 19.8 km) | 0.44 µm0.46 µm0.45 µm0.02 µm1µmYes: has spectral bands specified by upper and lower values, 0.48 µm0.50 µm0.49 µm0.02 µm1µmYes: has spectral bands specified by upper and lower values, 0.51 µm0.53 µm0.52 µm0.02 µm1µmYes: has spectral bands specified by upper and lower values, 0.55 µm0.58 µm0.56 µm0.02 µm1µmYes: has spectral bands specified by upper and lower values, 0.61 µm0.63 µm0.62 µm0.02 µm1µmYes: has spectral bands specified by upper and lower values, 0.66 µm0.68 µm0.67 µm0.02 µm1µmYes: has spectral bands specified by upper and lower values, 0.74 µm0.80 µm0.77 µm0.06 µm1µmYes: has spectral bands specified by upper and lower values, 0.83 µm0.90 µm0.86 µm0.07 µm1µmYes: has spectral bands specified by upper and lower values, 0.99 µm1.05 µm1.02 µm0.07 µm1µmYes: has spectral bands specified by upper and lower values, 8.42 µm12.28 µm10.35 µm3.86 µm1µmYes: has spectral bands specified by upper and lower values
Airborne Visible and InfraRed Imaging Spectrometer - 3 | AVIRIS-3 | Robert O. Green (PI) | JPL | B200 - Dynamic Aviation; G-III; G-V-JSC | Spectrometer | Radiance from the surface and atmosphere.
Airborne Visible/Infrared Imaging Spectrometer | AVIRIS-Classic | Robert O. Green (PI) | JPL | ER-2 - AFRC; Proteus; Twin Otter; WB-57 - JSC | Spectrometer | Imagery
Airborne Visible/Infrared Imaging Spectrometer 5 | AVIRIS-5 | Robert O. Green | JPL |  | Spectrometer | Radiance from the surface and atmosphere.
Automatic Meteor Tracker with Imager and Slit Spectrograph | AIM-IT | George Varros (PI) |  | DC-8 - AFRC | Spectrometer | Imagery
Autonomous Modular Sensor | AMS | James D. Jacobson Jr. (Mgr) | BAERI | Altair; B200 - LARC; Caravan; ER-2 - AFRC; Ikhana; DC-8 - AFRC | Spectrometer | Imagery | Range of MeasurementGroundInstrument PointingCross-track scanning | Range of MeasurementGroundInstrument PointingCross-track scanning | Range of MeasurementGroundInstrument PointingCross-track scanning | Range of MeasurementGroundInstrument PointingCross-track scanning | Range of MeasurementGroundInstrument PointingCross-track scanning | Range of MeasurementGroundInstrument PointingCross-track scanning | 0.42 µm11.26 µm5.84 µm10.84 µm124 different configurations (see website for details).µmYes: has spectral bands specified by upper and lower values
Chicago Water Isotope Spectrometer | Chi-WIS | Benjamin Clouser (Mgr) | U Chicago | WB-57 - JSC | Spectrometer | H2O; HDO
Direct beam Irradiance Airborne Spectrometer | DIAS | Samuel R. Hall (PI) | NCAR | DC-8 - AFRC | Spectrometer | Aerosol; Optical Depth; O3 | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | Range of MeasurementIntegrated slant columnInstrument PointingSolar tracking | 280.00 nm650.00 nm465.00 nm370.00 nm1nmYes: has spectral bands specified by upper and lower values
Enhanced MODIS Airborne Simulator | eMAS | Steve Platnick (Co-I) | NASA GSFC | ER-2 - AFRC | Spectrometer | Imagery | Range of MeasurementGroundInstrument PointingCross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36000.00 m (at 19.8 km)Horizontal Resolution50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36000.00 m (at 19.8 km)Horizontal Resolution50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36000.00 m (at 19.8 km)Horizontal Resolution50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36000.00 m (at 19.8 km)Horizontal Resolution50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36000.00 m (at 19.8 km)Horizontal Resolution50.00 m (at 19.8 km) | Range of MeasurementGroundInstrument PointingCross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36000.00 m (at 19.8 km)Horizontal Resolution50.00 m (at 19.8 km) | 0.46 µm14.18 µm7.32 µm13.72 µm38µmYes: has spectral bands specified by upper and lower values
Fourier Transform Infrared Spectrometer | FTIR | Michael Coffey (PI) | NASA HQ | DC-8 - AFRC | Spectrometer | HCl; ClONO2; N2O; NO; NO2; HNO3; HF; CH4; C2H6; H2O; CO2; CF2Cl2; O3
GeoCAPE Airborne Spectrometer | GCAS | Scott Janz (PI) | NASA GSFC | B200 - LARC; WB-57 - JSC; Global Hawk - AFRC; ER-2 - AFRC | Spectrometer | NO2; CH2O | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | Range of MeasurementIntegrated vertical columnInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate2.00 Hz | 300.00 nm900.00 nm600.00 nm600.00 nm1Air Quality (AQ) 304:520 nm; Ocean Color (OC) 460:900 nmnmYes: has spectral bands specified by upper and lower values
Geostationary Imaging Fabry-Perot Spectrometer | GIFS | Sam Yee (PI) | JHU APL | P-3 Orion - WFF | Spectrometer | Cloud Thickness
Hawaii Group for Environmental Aerosol Research | HIGEAR | Antony Clarke (Co-I) | U Hawaii | DC-8 - AFRC; P-3 Orion - WFF | CN counter; Differential mobility; Laser absorption; Optical particle counter; Photometer; Spectrometer | Particle Absorption; CCN; Particle Scattering; Aerosol Size Distribution; Black Carbon
HyMap | HyMap | Terry Cocks (PI) |  | Cessna 402B; WB-57 - JSC | Spectrometer | Imagery
Hyperspectral Thermal Emissions Spectrometer | HyTES | Simon Hook (PI) | JPL | Twin Otter - GRC; Gulfstream III - LaRC; Gulfstream V - JSC | Spectrometer | Temperature | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width3590.00 m (at 4 km)Horizontal Resolution7.00 m (at 4 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width3590.00 m (at 4 km)Horizontal Resolution7.00 m (at 4 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width3590.00 m (at 4 km)Horizontal Resolution7.00 m (at 4 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width3590.00 m (at 4 km)Horizontal Resolution7.00 m (at 4 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width3590.00 m (at 4 km)Horizontal Resolution7.00 m (at 4 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Swath Width3590.00 m (at 4 km)Horizontal Resolution7.00 m (at 4 km) | 7.50 µm12.00 µm9.75 µm4.50 µm1µmYes: has spectral bands specified by upper and lower values
Leonardo Airborne Simulator | LAS | Si-Chee Tsay (PI) | NASA GSFC | ER-2 - AFRC | Spectrometer | Imagery
mini-DOAS | mini-DOAS | Jochen Peter Stutz (PI) | UCLA | Global Hawk - AFRC | Spectrometer | BrO; NO2; O4
MODIS Airborne Simulator | MAS | James D. Jacobson Jr. (PI) | BAERI | ER-2 - AFRC | Spectrometer | Imagery | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36.00 m (at 20 km)Horizontal Resolution50.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36.00 m (at 20 km)Horizontal Resolution50.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36.00 m (at 20 km)Horizontal Resolution50.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36.00 m (at 20 km)Horizontal Resolution50.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36.00 m (at 20 km)Horizontal Resolution50.00 m (at 20 km) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Cross-track scanningMeasurement Sampling Rate6.25 HzSwath Width36.00 m (at 20 km)Horizontal Resolution50.00 m (at 20 km) | 445.00 nm970.00 nm707.50 nm525.00 nm9nmYes: has spectral bands specified by upper and lower values, 1580.00 nm2400.00 nm1990.00 nm820.00 nm16nmYes: has spectral bands specified by upper and lower values, 3000.00 nm5450.00 nm4225.00 nm2450.00 nm16nmYes: has spectral bands specified by upper and lower values, 8240.00 nm14550.00 nm11395.00 nm6310.00 nm9nmYes: has spectral bands specified by upper and lower values
MODIS/ASTER Airborne Simulator | MASTER | James D. Jacobson Jr. (Mgr) | BAERI | B-200 - DOE - ARC; DC-8 - AFRC; ER-2 - AFRC; WB-57 - JSC; P-3 Orion - WFF | Spectrometer | Imagery | Range of MeasurementGroundInstrument PointingNadir (directly downwards) | Range of MeasurementGroundInstrument PointingNadir (directly downwards) | Range of MeasurementGroundInstrument PointingNadir (directly downwards) | Range of MeasurementGroundInstrument PointingNadir (directly downwards) | Range of MeasurementGroundInstrument PointingNadir (directly downwards) | Range of MeasurementGroundInstrument PointingNadir (directly downwards)
Next-Generation Airborne Visible/Infrared Imaging Spectrometer | AVIRIS-NG | Robert O. Green (PI) | JPL | ER-2 - AFRC; Twin Otter; Gulfstream III - LaRC; Gulfstream G-5 | Spectrometer | Imagery
Portable Remote Imaging Spectrometer | PRISM | David Thompson (PI) | JPL | Twin Otter International; Gulfstream III - LaRC; ER-2 - AFRC | Spectrometer | Radiance; Ocean Color; Chlorophyll-a | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Measurement Sampling Rate168.00 Hz | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Measurement Sampling Rate168.00 Hz | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Measurement Sampling Rate168.00 Hz | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Measurement Sampling Rate168.00 Hz | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Measurement Sampling Rate168.00 Hz | Range of MeasurementGroundInstrument PointingNadir (directly downwards)Measurement Sampling Rate168.00 Hz | 350.00 nm1050.00 nm700.00 nm700.00 nm1nmYes: has spectral bands specified by upper and lower values
Precipitation Imaging Probe | PIP | Andrew Heymsfield (PI) | NCAR | DC-8 - AFRC | Particle imager; Spectrometer | Particle size distribution
Pushbroom Imager for Cloud and Aerosol Research and Development - ARC | PICARD ARC | James D. Jacobson Jr. (PI) | BAERI | ER-2 - AFRC | Spectrometer | Imagery
Pushbroom Imager for Cloud and Aerosol Research and Development - GSFC | PICARD GSFC | Kerry G. Meyer (PI) | NASA GSFC | ER-2 - AFRC | Spectrometer | Imagery
Spectrometer for Sky-Scanning, Sun-Tracking Atmospheric Research | 4STAR | Meloe S. Kacenelenbogen (Co-I) | NASA ARC | P-3 Orion - WFF; C-130H - WFF; Convair 580 NRC; Gulfstream G-1 (DOE); DC-8 - AFRC | Spectrometer | NO2; O3; H2O; Spectral Aerosol Optical Depth; Aerosol Extinction Angstrom Exponent; Aerosol Single Scattering Albedo; Aerosol Asymmetry Parameter; Aerosol Scattering phase function; Aerosol Size Distribution; Aerosol Complex Refractive Index; Cloud Optical Depth; Cloud droplet effective radius; Cloud Thermodynamic Phase; Cloud Liquid Water Content | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation | Range of MeasurementVertical profileInstrument PointingZenith (directly upwards)Upwards pointing but not directly upwardsSolar trackingPointing AnglesThe instrument can be pointed continuously around the full azimuth and over 270 degrees in elevation