## Slide 1: Summary of UCATS Performance and Data for ATTREX-2 (January-March 2013)
Eric Hintsa, Fred Moore, Geoff Dutton, Brad Hall, David Nance, Audra McClure, and Jim Elkins
Bruce Daube, Jasna Pittman, Steve Wofsy, Ru-Shan Gao, Andrew Rollins, Troy Thornberry, Laurel Watts, David Fahey, Glenn Diskin, Elliot Atlas, and Maria Navarro
Notes: Complete list of colleagues

## Slide 2: UCATS Summary – ATTREX 2013
Gas Chromatograph
  N2O and SF6 – good data starting February 9
  CH4 and H2 – good data starting February 14
  CO data probably usable in profiles
Ozone
  Second 2B ozone sensor added (2-second response)
  Backup for NOAA CSD ozone
Water vapor TDL
  Good data on ascent, descent and profiles
  High water vapor “short path” calibration completed
GC data reanalyzed and archived
Notes: N2O, CH4 – 0.25-0.3%; SF6 – 0.5%; H2 – <1%; CO – 2-3%, but has artifact
Ozone – similar to ATTREX 1, but different 2B better at different times. Not finished analysis.
Water – good agreement with DLH on profiles; still preliminary data

## Slide 3: UCATS and Picarro Intercomparison
Notes: UCATS > PCRS by 3 ppb at 1500; spot on at 1800.
Agreement well within uncertainties

## Slide 4: Research Flights 3-6, UCATS & Picarro
Notes: Basically same as 0214; 0226 may be a little different
Note agreement even in uppermost right corner – ascent data from Dryden

## Slide 5: Methane-N2O Correlation
Notes: Unfortunately most of interest in ATTREX is in upper right corner

## Slide 6: SF6 vs. N2O, February 14, 2013
Notes: Latitude distribution of SF6 at high values

## Slide 7: Hydrogen vs. UCATS Methane, February 14, 2013
Notes: UCATS methane here (PCRS would be just about identical)

## Slide 8: UCATS CO data color-coded by Ozone
Notes: Artifact associated with pump running, and added ozone.
Blue points probably OK, red solid circles may be OK too.